## Database_Index2
Parameter | Data Point1 | Data Point2 | Data Point3 | Data Point4 | Data Point5 | Data Point6 | Data Point7 | Data Point8 | Data Point9 | Data Point10
CABLEPULL | Material | Phase | Test | Section Width | Ampacity | Structure Depth | Assembly Drawing
CABLEPULL-2 | Material | Phase | Test | Section Width | Ampacity | Structure Depth | Assembly Drawing
AUXMACON | Minimum Structure Depth | Cross Bus Position | Phase | Test | Material | Device
SAUXMACO | Structure Depth | Structure Width | Cross Bus Position | Test | Aux X-Bus Hole CTRS | Material | Device
WCCONNMD | Assembly Number | Test | Material | Device
MDCONLN | Minimum Structure Depth | Minimum Structure Depth | Bus Position | DWG No. | Test | Material | Device
MDCONLOA | Minimum Structure Depth | Bus Position | DWG No. | Test | Structure Depth | Material | Device | Support Edge to Edge
SMDCONLN | DWG No. | Structure Depth | Cross Bus Position | Heat Test | Amp per Sq CU and Alum
STMNCHCO | DWG No. | Heat Test | Amp per Sq CU and Alum |  | 36/45W
PHASECONN | Width | Assembly Drawing | Density | Material | Amperage | Device
AUXILCB | Amperage | Width (Wide) | Test | Assembly Number | 3/1/ Neutral Phase Cross Bus
AUXMACB | DWG Number | Structure Width | Test | Material | Amperage | Bus Hole Center | Phase
MAINCB | DWG No. | Bus Hole Center | Amperage | Test | Structure Width | Material | Mounting/Non-Mounting Assemblies
DISTCB | Amperage | Structure Width | Test | Material | Assembly No.
BUSCENTE | Bus Rating | Device Centers | X-Bus Centers | Structure Width | Device
SWBDBUS | -
GENRISERS | Amperage | Material | Test | Phase | Bus Centers
GENXBUS | Bus Centers | Amperage | Test | Material
GENDCLMTA | Bus Centers | Test | Material | Phase | Device Type | Amperage
GENDCLMBS | Device Type | Bus Center | Family Numbers/ Assembly no. | Test | Material | Phase
GENDCUMTA | Device Type | Bus Centers | Family Numbers/ Assembly no. | Test | Material | Phase
GENDCUMTS | Device Type | Bus Center | Family Numbers/ Assembly no. | Test | Material | Phase
GENDRLMTA | Device Type | Bus Center | Family Numbers/ Assembly no. | Test | Material | Phase
GENDRLMBS | Device Type | Bus Center | Family Numbers/ Assembly no. | Test | Material | Phase
GENDRUMTA | Device Type | Bus Center | Family Numbers/ Assembly no. | Test | Material | Phase
GENDRUMTS | Device Type | Bus Center | Family Numbers/ Assembly no. | Test | Material | Phase
GENNEUTRALXBUS | Width (Wide) | Amperage | Test | Material | Assembly No.
GENNEUTLUGPADS | Device Type | Width (Wide) | Bus Center | Disconnect | Assembly No. | Test | Material | Service/Non-Service Entrance
GNDBUS | Bus Rating | Structure Width | Amperage | Material | Assembly No. | Utility
GNBUSPLI | Amperage | Bus Capacity | Material | Assembly No. | Offset/ Gnd Bus Splices
GND BOND | Amperage | Assembly No. | Material
DISECNEU-1 | Riser Amperage Rating | Assembly No. | Test | Material | Width (Wide) | Cross Neut Rating
FAFANEU | Ameperage | Width (Wide) | Test | Material | Assembly No. | Neutral Lugs
NEUGFS | Assembly No. | Material | X-Bus/Chassis Amperage
MASECNEUT | Riser Amperage Rating | Assembly No. | Width (Wide) | Test | Material | Cross Neut Rating | Device
IMSECNEUT | Breaker Type | Max Breaker Amperage | Assembly No. | Cable Entry | Service Entrance | Ground Fault Protection | Bus Position | Test | Material | Width (Wide)
SELNEUT | Assembly No. | Width (Wide) | Test | Material | Device and Amp Rating
RVMNNEUT | Assembly No. | Width (Wide) | Test | Amperage
BUSSPLIC | Assembly No. | Material | Bus Size | Splice Offset | Test
BUSSPSI | Depth | Bus position
WFSPLBU | Assembly No. | Amperage | Test | 3 Wire/1 Wire | Material
CHASBUCO | Assembly No. | Chassis Rating | Cross Bus Rating Amperage | Test | Material | Chassis (38X, 50X, 38X Double Feed)
CHASSIS | Amperage | Phase | Test | Material | Chassis (38X, 50X) | Cross Bus present or not
CHASSMTG | Chassis (38X, 50X) | Assembly No. | Width (Wide) | Depth
CHASSIS5 | Amperage | Assembly No. | Material | Test | Phase | With/Without Cross Bus Connector | Without/ Within CTS
CHASSIS3 | Amperage | Assembly No. | Material | Test | Phase | With/Without Cross X-Bus Connector | Without/ Within CTS
CHASSML | Service Entrance | Amperage | Assembly No. | With/Without Neutral Sensor | Test | Material | Breaker Series Type | Chassis Top/Bottom Incoming Neutral/ ML Obsolete
CHBUMNBK | Device Type | X Space | Assembly No. | Test | Material
CHASSISRDBUS | Assembly No. | Test | Material | Amperage | Width (Wide) | Mechanical Lug (750/500MCM)
CHASSISFDPWBUS | Amperage | Assembly No. | Switch Volts | Material
CHASSCT
CHASSIS BARRIERS | X Space to Cover | Barrier Combination (22X) | Width (Wide) | Depth | Cross Bus Mounting Location
NYCHASSIS | Assembly No. | 50X,88X Chassis | With/Without Cross Bus | Phase | Test | Material
NYCHASSIS50 | Mechanical Lug (750/500MCM) | Phase | Test | Material | Amperage | Assembly No. | Without/ Within CTS | Top Feed/Bottom Feed
NYCHASSIS38 | Mechanical Lug (750/500MCM) | Phase | Test | Material | Amperage | Assembly No. | Without/ Within CTS | Top Feed/Bottom Feed
PRLXWBRKT | Bracket Length | Flat/Bend Bracket | Material | Assembly No.
CMPANSB
DORMTGA | With/Without Test Plug | Width (Wide) | Description | Assembly No.
CMPANCH | Assembly No. | Space 8X | Description | CTEP/PRL
IQHARNESS
WEBCOMPT | Assembly No. | Width (Wide) | Space 11X
SPDSWBD | Application | SPD Rating | Width (Wide)
XFMRClosurePlate | Assembly No. | XFMR vs SWBD depth Difference
ODDRYXFMRCONN | Amperage | Test | Material | Assembly No. | Depth | Flat/Sloped Roof | Nema 1/3R
ConnectionCovers | Assembly No. | Depth | Section Throat KVA (Left/Right) | Nema 1/3R
IDLIQXFMRSTR | Assembly No. | Indoor Transformer KVA rating
LIQXFMRBUS | Assembly No. | Amperage | Test | Material | 3 Phase/Neutral/Ground Bus | Transformer (Left/Right) | Cross Bus Location
PHASEIDTAGS | With/Without Neutral Bus
FIXCVRS | Breaker Type description | Lockoff type | Width (Wide) | With/Without Lockoff
PRCVDOR1 | Amperage | Width (Wide) | Application | Pringle/AF&AFGF Pringle
PRCVDOR2 | Amperage | Width (Wide) | Application | Pringle/AF&AFGF Pringle
PRCVDOR3 | Amperage | Width (Wide) | Application | Pringle/AF&AFGF Pringle
PRCVDOR4 | Amperage | Width (Wide) | Application | Pringle/AF&AFGF Pringle
PRCVDOR5 | Amperage | Width (Wide) | Application | Pringle/AF&AFGF Pringle
PRCVDOR6 | Amperage | Width (Wide) | Application | Pringle/AF&AFGF Pringle
PRCVDOR7 | Switch | Amperage | Width (Wide) | Assembly No. | Standard/ with ITI GF, with Single Phase, With ITI GF and Single Phase | Pringle/AF&AFGF Pringle
PRCVDOR8 | Amperage | Width (Wide) | Application | Pringle/AF&AFGF Pringle
GFRCOMP | Assembly No. | Width (Wide) | With/Without Pow-r-line i/PRLiX Chassis Ltd. | With/Without Test Panel
GFRCOMP2 | Assembly No. | Width (Wide) | With/Without Pow-r-line i/PRLiX Chassis Ltd. | 1/2 Relay
PRCOMBLF | Width (Wide) | With Mini/large Indication Lights
IFSQUICKDISC.xlsx
IFSNEUTGRDDISC.xlsx
IFSMLO22X.xlsx | Bus Rating (Amps) | Assembly No. | X Space | Test | Material | With/Without Connection to Splice
IFSXFMRSEL 15-150KVA.xlsx | Assembly No. | Support Width | Depth | Seismic/Non-Seismic | Extra Sheets need to discuss
IFSXFMRSEL 225-300kVA.xlsx | Assembly No. | Width (Wide) | Depth
IFSTRIM.xlsx | Assembly No. | Width (Wide) | Panel Quantity | Trim Assemblies- Single/ Door in Door/ PRC limiter
IFSDOOR_COVERS.xlsx | Assembly No. | Transformer KVA | Width (Wide) | Description
IFSPNLMTG.xlsx | Assembly No. | Panel Quantity | Width (Wide) | Depth
LUGGROUPS | Assembly No. | Amperage | 500/750 MCM | With or Without One hole | Copper/Aluminium Cables
DS-SB CAT BUILDER
MAG PXR & PD-SB CAT
SUMTER MAG #
1 HIGH MAG - FIXED | Assembly No. | Amperage | Minimum Depth | Width (Wide) | With/ Without Device Width Cover | Distinct Part Names (cover, interlock etc)
1 HIGH, 4000A, 3 POLE ONLY NARROW MAG - FIXED | Assembly No. | Amperage | Minimum Depth | Width (Wide) | Distinct Part Names (cover, interlock etc)
1 HIGH MAG - D.O. | Assembly No. | Amperage | Bus Center | Test | Material
1 HIGH, 4000A, 3 POLE ONLY NARROW MAG - DRAWOUT | Assembly No. | Amperage | Bus Center | Cross bus position | Test | Material
2 HIGH MAG - FIXED | Assembly No. | Depth | Description
2 HIGH MAG -D.O. | Assembly No. | Description | Amperage | DWG No.
4 HIGH MAG -D.O. | Assembly No. | Depth | Description
PRLC_HDWR_REF
SWBDPKGING
LOOSE HARDWARE | Assembly No. | Type 1/3R | number of pieces
GO TO SMART SPREADSHEET
GO TO SMART SPREADSHEET
GO TO SMART SPREADSHEET
ATSMAG | Part Name | Width (Wide) | Depth
ATS-GE-ZEN | Part Name | Width (Wide) | Depth
AUXMAMTG | Part Name | Width (Wide) | Assembly No.
WRPCBMTG | Width (Wide) | Cross Bus Height | Split/Full Channel | Cross bus position | Depth
CT MTG | Mounting Type(Cross bus, floating, bus) | Assembly No. | Amperage | Test | Material
CURRENTTRANSFORMERSCHART.xlsx | Assembly No. | Amran Catalog No. | ITI Catalog No. | Falco Catalog No. | Application
WF-MAIN | Device Type | Max Short Circuit Rating | Device Width | Device Height | Width (Wide) | Depth
WRPMAIN | Short Circuit Rating | Device Width/ With GFR/ With NEMA | Depth Device/With NEMA Util | Cross Bus W/O Util and With NEMA Util | Conduit Space Device Only/ NEMA
BKRBUS-1 | Device Type | Bus Position Minimum Depth | NEMA Utility Depth | EUSERC Utility Depth
PRINGCAT
DEVLUCON | Device Type | Assembly No. | Material | Test | Lug 500/750 MCM | Lug Type (Mech/Burndy)
MDMTG | Device Type | Assembly No. | Device Mounting Position (Upper/lower/top) | Width (Wide)
MDMTGPG | Device Type | Assembly No. | Device Mounting Position (Upper/lower/top)
DRAWOUTI | Device Type | Assembly No. | Substructure Assembly No. | Kirk Key/ Crank/Secondary Contacts
SMDMTG | Device Type | Assembly No. | Mounting Width
RFMPH1 | Device Type | X Bus Hole Center | Width (Wide) | Depth | Material | Main Assembly/Lugs | Amperage | Number of Drillings | Lugs and Pressbolts/Pressbolts only
RFMPH2 | Device Type | DWG No. | Material | Width (Wide) | Depth | Main Assembly/Lugs | Amperage | Number of Drillings | Lugs and Pressbolts/Pressbolts only
SDCONLIN | Device Type/Riser Rating | Assembly No. | Test | Width (Wide) | Material | Amperage | Max Device Connection
SDLORUBA | Device Type | Assembly No. | Device Position (Upper/lower Mount) | Test | Material
STDECB | DWG No. | Width (Wide) | Amperage | Material | Test
UPSTDEMG | Assembly No. | Width (Wide) | Bus Position | Device Type
STKNEUT | Amperage | Assembly No. | Test | Material | Width (Wide) | Device Stacking (Upper/lower)
STKRUBK | Assembly No. | Width (Wide) | Bus Position | Depth | Device Load Runback
STKRUBA | Dwg No. | Amperage | Test | Material
THSDLRM | Device Type | Assembly No. | Width (Wide) | Depth
THSDNRB | Device Type | Assembly No. | Test | Material | Lug 500/750 MCM | Lug Type (Mech/CRIMP)
THSDLRB | Device Type | Assembly No. | Test | Material | Lug 500/750 MCM | Lug Type (Mech/CRIMP)
TRIALLI | Device Type | Assembly No. | Test | Material | Amperage
NGDOBB
SUMTER NRX-NF #
SUMTER NRX-RF #
NRX-NF - FIXED | Description | Assembly No. | Test | Material | Phase | Breaker Fixing point( Single and Twin mount Fixed, Twin mount fixed, Quad mount fixed) | 4/3 wire
NRX-NF - DRAWOUT NOT AVAILABLE
1 HIGH NRX-RF - FIXED | Assembly No. | Amperage | Mounting Position | Width (Wide) | Test | Material | Phase | A phase/ B Phase/ Neutral
1 HIGH NRX-RF - D.O. | Assembly No. | Amperage | Mounting Position | Width (Wide) | Test | Material | Phase | A phase/ B Phase/ Neutral
2 HIGH NRX-RF - FIXED | Assembly No. | Amperage | Mounting Position | Width (Wide) | Test | Material | Phase | A phase/ B Phase/ Neutral
2 HIGH NRX-RF - D.O. | Assembly No. | Amperage | Mounting Position | Width (Wide) | Test | Material | Phase | A phase/ B Phase/ Neutral
4 HIGH NRX-RF -D.O. | Part Name | Assembly No. | Depth
SCMM | Socket Type | Assembly No. | Sequence | Indoor/Outdoor | Depth | Width (Wide) | Part (Pull Switches/Approved Socket Bases/ Meter Socket Application) | Poles | Max Voltage
CMMUGPS1 | Width (Wide) | Material | Test | Amperage | Assembly No.
CMMUGPS2 | Utility Name | Assembly No. | Width (Wide) | Depth | Amperage
SCMM EAST COAST
BASICSTR | Assembly Drawing | Structure Width | Depth | Seismic/Non-Seismic | Nema 3R/1R
WPFLAT | Depth | Width (Wide) | Height | LH Door (20W,26W) | RH Door (20W, 26W) | Assembly No. | WPFLAT Material
WPSLOPE | Width (Wide) | Depth | Assembly No. | WP Slope Material
PULLBOX | Depth | Pullbox Height | Width (Wide) | Assembly No.
BLKCOV | Assembly No. | Blank Cover Height | Width (Wide)
BOTCLOPL | Assembly No. | Width (Wide) | Depth | Bus Location | Switch
AUXSEC | Assembly No. | Width (Wide) | Height
ENDCOVER | Height | Depth | Seismic/ Non-Seismic | Assembly No. | Material | Indoor/Outdoor | Left Hand/Right Hand | Flat Roof/Sloped Roof
REARCOVER | Height | Depth | Seismic/ Non-Seismic | Assembly No. | Material | Indoor/Outdoor
SEVENTCO | Assembly No. | Splice Bus bar number | Depth | SWBD Type | Height
TOPCOVER | Assembly No. | Width (Wide) | Depth | Seismic/Non-Seismic
LFTASSY | Assembly No. | Amperage | Material
SWBDFLCH | Width (Wide)
WCVTBAR1 | Utility Name | Depth
NEUTBARR-1 | Amperage | Material | Test | Assembly No.
LUGDRILL10 | Amperage | EUSERC Drill Number | Depth
WCUTB91B | Amperage | Assembly No. | Material | Test | Application (A/B/C) | Phase | Width (Wide)
WCUFDR-A
PNM1000MAX | Amperage | Assembly No. | Material | Test | Application (A/B/C) | Width (Wide)
IDAHO1000MAX | Amperage | Assembly No. | Material | Test | Application (A/B/C) | Phase | Width (Wide)
WCAUXNT-A | Amperage | Depth | Material | Width (Wide) | Test | Assembly No.
WCCTAUX2 | Amperage | Material | Test | Width (Wide) | Assembly No. | 3/4 Wire | Application (A/B/C)
WCLDNEUT | Amperage | Assembly No. | Depth | Material | Test
WCAUXBAR | Depth | Width (Wide) | Amperage | Material | Test | Application (A/B/C) | Assembly No.
WCBONDA | Breaker Name | Amperage | Assembly No. | With/Without Neutral Sensor | Material | Depth | Test | Width (Wide)
WCUGPAUX | Amperage | Width (Wide) | Material | Test | Phase
WCUGPRIS | Amperage | Depth | Width (Wide) | Material | Test | Assembly No. | Phase
WCUGPLLG | Amperage | Width (Wide) | Material | Test | Phase | Assembly No.
WCUTO22X | Phase | Material | Assembly No. | Amperage | Width (Wide)
WCUTO22XMAIN | Assembly No. | Material | Test | Width (Wide)
WCCTTOHF-A | Assembly No. | Width (Wide) | Depth | Test | Material | Amperage
WCCTTOHF-B | Assembly No. | Width (Wide) | Depth | Test | Material | Amperage
WCRBAR2A | Depth | Width (Wide) | Amperage | Assembly No.
WCUTLNTA | Amperage | Material | Test | Width (Wide) | Assembly No.
WCTUGP1A | Assembly No. | Amperage | Width (Wide) | Depth | Test
WCTUGP1B | Assembly No. | Amperage | Width (Wide) | Depth | Test
WCTAUX2A | Depth | Bus Location | Amperage | Material | Test
WCTAUX3A | Assembly No. | Width (Wide) | Material | Amperage | Test | 3/4 Wire | Aux Bus/Main Bus
WCAUXNT1 | Amperage | Depth | Material | Test | Assembly No.
WCBOND1B | Amperage | Material | Test | Assembly No. | Depth | Width (Wide)
WCRBARRA | Amperage | Width (Wide) | Assembly No. | Depth | Application (A/B/C)
WCRBARRB | Amperage | Width (Wide) | Depth | Application (A/B/C) | 3/4 Wire | Assembly No. | Test | Material
WCTREV1A | Amperage | Width (Wide) | Test | Depth | Material | Assembly No.
WCTREV1B | Assembly No. | Amperage | Width (Wide) | Depth | Test | Material
WCRFRV1A | Amperage | Width (Wide) | Depth | Material | Test | Assembly No.
WCRFAUXC | Amperage | Width (Wide) | Depth | Material | Test
WCRFLUGA | Assembly No. | Amperage | Drilling Number | Width (Wide) | Depth | Heat Test/ Density | Material
UGPSORDER-A | Width (Wide) | Depth | Material | Test | Amperage | Assembly No. | Number of Drillings
UGPSORDER-B | Assembly No. | Amperage | Material | Bus Type | Number of Drillings | Number of Pressbolts | Depth | Pressbolts only/ Pressbolts and Lugs
UGPORD2 | Assembly No. | Amperage | Width (Wide) | Material | Number of Drillings | Depth
UGPORD3 | Amperage | Number of Drillings | Number of Pressbolts | Test | Material | Depth
WCTAUX5A | Amperage | Material | Test | Width (Wide)
WCLUGSH1 | Amperage | Width (Wide) | Assembly No.
UTILMTG | Amperage | CT Type | Assembly No. | Width (Wide) | Material | Top/ Bottom Mount
UCTAUXCON | Assembly No. | Device Type | Depth | Cross bus position | Test | Phase | Material
CTCONMDU | Utility Compartment Type | Device Type | Assembly No. | Test | Material | Width (Wide) | Depth
UCTLUCON | Utility Amperage | Cross Bus Position | Assembly No. | Test | Lug (500/750 MCM) | Width (Wide) | With/ Without MTG Support
UMDCONCT | Utility Amperage | Device Type | Assembly No. | Test | Material | Width (Wide) | Cross Bus Position
LCTCONCB | Assembly No. | Utility Amperage | Width (Wide) | Cross bus position | Cross Bus Centers | Heat Test/ Density | Material
UTILBAR | Assembly No. | Width (Wide) | Depth | MTG on Rear Corner/WRP Channel
CTSPCM | Amperage | Material | Test | Width (Wide) | Chassis/Main Device/ Aux Bus B or D/Neutral/ Without Neutral
CTALLIANT | With/ Without Lugs | Amperage | Assembly No. | Width (Wide)
CTAMEREN | Amperage | Compact Type | Assembly No. | Width (Wide) | Material | Depth
CTATLCTY | Amperage | Assembly No. | Width (Wide) | Material | Depth
CTBGE | Amperage | Assembly No. | Width (Wide) | Depth | Material | Number of Drillings | Top/Bottom Incoming Cable
CTNSTAR | Amperage | Assembly No. | Width (Wide) | Material | Depth
CTCHEYLFP | Amperage | Assembly No. | Material | Width (Wide)
CTCINGAS | Amperage | Width (Wide) | Depth | Assembly No. | Top mount Top/bottom Incoming | Heat Test/ Density | Bus position | Material | Device Type | Application B/C
CTNAPERVL | Amperage | Assembly No. | Width (Wide) | Depth
CTCOMMED | Amperage | Assembly No. | Material | Width (Wide) | Depth | With/Without Lugs | 3/4 phase
CTCONED | Width (Wide) | Amperage | Material | Top Mount Top/Bottom Incoming | Bus Position | Con Ed/ NY Code Applicants | Assembly No.
CTDP&L | Amperage | Assembly No. | Material | Width (Wide)
CTDETED | Amperage | Assembly No. | Width (Wide) | Material | Depth | Applications A,B,D
CTDUQUESNE | Amperage | Depth | Compt Type | Assembly No. | Top Mount / Bottom Mount | Width (Wide) | Material
CTGAPOWER | Amperage | Compt Type | Assembly No. | Width (Wide) | Material | Heat Test/ Density
CTINP&L | Amperage | Material | Test | Width (Wide) | Top Mount W/UGPS/Pullbox/Without Pullbox/ Bottom Incoming | Bus Position | Depth | Assembly No.
CTJCPL | Amperage | Assembly No. | Material | Width (Wide) | Depth
CTPSEGLI | Amperage | Top Mount W/UGPS/ Bottom Incoming | Assembly No. | Width (Wide) | Depth | Applications A1,C,A2,A,B2,C | Material | Test
CTLG&E | Amperage | Assembly No. | Width (Wide) | Material
CTMADG&E | Amperage | Assembly No. | Width (Wide) | Material | Depth | Cross Bus position | Heat Test/ Density
CTNATLGRID | Amperage | Assembly No. | Width (Wide) | Material | Depth | Heat Test/ Density | Closure Type | Material
CTMONPWR | Amperage | Assembly No. | Width (Wide) | Material | Depth
CTNATLGRID-NIMO | Amperage | Width (Wide) | Test | Material | Assembly No. | Top/ Bottom Incoming
CTNOEAST | Amperage | Assembly No. | Test | Material | Width (Wide) | Depth
CTNOSPWR | Amperage | Assembly No. | Test | Material | Width (Wide) | Depth
CTNYSE&G | Amperage | Assembly No. | Test | Material | Width (Wide) | Depth
CTOMAHA
CTORANGE&ROCKLAND | Amperage | Assembly No. | Width (Wide) | Material | Test | Top/Bottom Mount | Closure Type | Bus Location
CTPECO | Amperage | Assembly No. | Width (Wide) | Material | Compartment Type
CTPEPCO | Amperage | Assembly No. | Depth | Number of Drillings | Top/Bottom Feed
CTPP&L | Amperage | Assembly No. | Material | Test | Width (Wide) | Number of Drillings | With Aux/Aux and Main Bus Support
CTPSEGNJ | Amperage | Assembly No. | Material | Width (Wide) | Depth
CTXCELCOL | Amperage | Assembly No. | Material | Width (Wide) | Depth | MTG on Rear Corner/WRP Channels
CTDOMINION | Amperage | Assembly No. | Top Mount W/UGPS/Pullbox/Without Pullbox/ Bottom Incoming | Material | Depth | Width (Wide) | Bus position
CTWEENERGIES | Amperage | Assembly No. | Width (Wide) | Material | Depth | Top/ Bottom Incoming | Number of Drillings
CTWISPUB | Amperage | Assembly No. | Test | Material
CTPSOFNH | Amperage | Assembly No. | Width (Wide) | Material | Top Mount / Bottom Mount | Compartment Type
CTNEMA
METEDMTG | Amperage | Assembly No. | Width (Wide) | Material | Compartment Type
CTNES | Amperage | Assembly No. | Width (Wide) | Test | Material
CTENTERGY | Amperage | Assembly No. | Width (Wide) | Test | Material
CTCPSENERGY | Amperage | Assembly No. | Width (Wide) | Material | Voltage
PRLXQPS | Switch Catalog No. | Assembly No. | Fuse Quantity | Fuse Size | Fuse Catalog No. | Fuse Amp Rating
CHASSIS |  |  |  |  | `
CUSTOMER METERING INSTRUMENT DOOR / BACK - OF - DOOR ASSEMBLY
BLANKPANSDOORS.xlsx
Enclosure
GENERIC CROSS BUS AND MOUNTINGS | Amperage | Material | Bus Center | Assembly No.
HPX SWITCH 800-3000A | Amperage | Assembly No. | Device Feed | Width (Wide) | Phase | Material | Bus position | Test
INPUTOUTPUT PANEL 800-3000A | Amperage | Width (Wide) | Height | Material | Bus Position | Lug(500/750 MCM) | Type 1&3R
INSTANT SWITCHBOARD | Amperage | Voltage | Device Type | Phase | SWDB Catalog No. | Main Device Catalog No. | Heat Test/ Density
MAGNUM BREAKER
PD6-R FRAME BREAKER
PD-RF BREAKER
PRINGLE SWITCH
KEY INTERLOCK SELECTION
MIMICBUS
ELECTRICAL COMP
EXERTHERM INTEGRATION - SWBD
MICROSOFT SPECIFIC DESIGNS

## Extracted_Parameters
Unique Parameters | Current Extraction Coverage
Material | Material
Minimum Structure Depth | Structure Depth
Structure Depth | Assembly No.
Assembly Number | Width
DWG No. | Amperage
Amperage | Depth
Bus Rating | Bus Rating
Bus Centers | Height
Device Type | Voltage
Width (Wide) | 3/1 Phase
Riser Amperage Rating | 3/4 Wire
Ameperage | Seismic/Non-Seismic
Breaker Type | Heat Test/Density
Depth | NEMA 1/3R
Chassis (38X, 50X) | Flat Roof/Sloped Roof
Service Entrance | Poles
X Space to Cover | Part Name
Mechanical Lug (750/500MCM) | Utility Name
Bracket Length | Utility Amperage
With/Without Test Plug | With/Without Lugs
Application | Bus Position
With/Without Neutral Bus | Bus Capacity
Breaker Type description | Chassis Rating (Amperage)
Switch | Number of Lugs
Part Name | Number of Drillings
Mounting Type(Cross bus, floating, bus) | Service/Non-Service Enterance
Short Circuit Rating | Section Width
Device Type | Part Name
Device Type/Riser Rating | EUSERC Drill Number
Description | Width (Wide)
Socket Type
Utility Name
Height
Breaker Name
3/1 Phase
Utility Compartment Type
Utility Amperage
With/ Without Lugs
Lugs and Pressbolts/Pressbolts only
Switch Catalog No.
Application B/C
Phase
Cross Bus Position
Structure Width
Heat Test/Density
Bus Position
Heat Test
Assembly Drawing
Bus Hole Center
Device Centers
Bus Capacity
Max Breaker Amperage
Chassis Rating
X Space
Barrier Combination (22X)
50X,88X Chassis
Flat/Bend Bracket
Space 8X
SPD Rating
XFMR vs SWBD depth Difference
Indoor Transformer KVA rating
Lockoff type
With Mini/large Indication Lights
Support Width
Transformer KVA
Panel Quantity
Type 1/3R
Cross Bus Height
Amran Catalog No.
Max Short Circuit Rating
Device Width/ With GFR/ With NEMA
Bus Position Minimum Depth
X Bus Hole Center
Pullbox Height
Blank Cover Height
Splice Bus bar number
EUSERC Drill Number
Bus Location
Number of Drillings
CT Type
Compact Type
Compt Type
Top Mount W/UGPS/ Bottom Incoming
Voltage
Amp per Sq CU and Alum
Density
X-Bus Centers
Family Numbers/ Assembly no.
X-Bus/Chassis Amperage
Bus Size
Cross Bus Rating Amperage
Switch Volts
With/Without Cross Bus
Space 11X
Section Throat KVA (Left/Right)
With/Without Pow-r-line i/PRLiX Chassis Ltd.
500/750 MCM
Minimum Depth
number of pieces
Split/Full Channel
ITI Catalog No.
Device Width
Depth Device/With NEMA Util
NEMA Utility Depth
Device Mounting Position (Upper/lower/top)
Substructure Assembly No.
Mounting Width
Device Position (Upper/lower Mount)
Mounting Position
Sequence
Seismic/ Non-Seismic
Drilling Number
Number of Pressbolts
Top Mount W/UGPS/Pullbox/Without Pullbox/ Bottom Incoming
Fuse Quantity
Bus Center
Device Feed
Section Width
Device
Disconnect
Cable Entry
Splice Offset
3 Wire/1 Wire
With/Without Neutral Sensor
CTEP/PRL
Nema 1/3R
With/Without Lockoff
Pringle/AF&AFGF Pringle
With/Without Test Panel
1/2 Relay
Seismic/Non-Seismic
Trim Assemblies- Single/ Door in Door/ PRC limiter
With or Without One hole
Falco Catalog No.
Device Height
Cross Bus W/O Util and With NEMA Util
EUSERC Utility Depth
Kirk Key/ Crank/Secondary Contacts
Indoor/Outdoor
LH Door (20W,26W)
WP Slope Material
SWBD Type
Application (A/B/C)
Bus Type
MTG on Rear Corner/WRP Channel
Top Mount Top/Bottom Incoming
Fuse Size
Ampacity
Aux X-Bus Hole CTRS
36/45W
3/1/ Neutral Phase Cross Bus
Offset/ Gnd Bus Splices
Device and Amp Rating
Cross Bus Mounting Location
3 Phase/Neutral/Ground Bus
Standard/ with ITI GF, with Single Phase, With ITI GF and Single Phase
Extra Sheets need to discuss
Copper/Aluminium Cables
With/ Without Device Width Cover
Distinct Part Names (cover, interlock etc)
Conduit Space Device Only/ NEMA
Lug 500/750 MCM
Device Load Runback
Nema 3R/1R
RH Door (20W, 26W)
3/4 Wire
Lug (500/750 MCM)
Cross Bus Centers
Chassis/Main Device/ Aux Bus B or D/Neutral/ Without Neutral
Top Mount / Bottom Mount
Compartment Type
Top/Bottom Feed
Fuse Catalog No.
SWDB Catalog No.
Multiple Sheets
Amperage
Utility
Cross Neut Rating
Neutral Lugs
Ground Fault Protection
Chassis (38X, 50X, 38X Double Feed)
Cross Bus present or not
With/Without Cross Bus Connector
With/Without Cross X-Bus Connector
Flat/Sloped Roof
Transformer (Left/Right)
With/Without Connection to Splice
Lug Type (Mech/Burndy)
Main Assembly/Lugs
Device Stacking (Upper/lower)
Lug Type (Mech/CRIMP)
Breaker Fixing point( Single and Twin mount Fixed, Twin mount fixed, Quad mount fixed)
Heat Test/ Density
Top/ Bottom Mount
With/Without Lugs
Con Ed/ NY Code Applicants
Applications A,B,D
Applications A1,C,A2,A,B2,C
Top/ Bottom Incoming
Top/Bottom Mount
MTG on Rear Corner/WRP Channels
Fuse Amp Rating
Lug(500/750 MCM)
Main Device Catalog No.
Mounting/Non-Mounting Assemblies
Without/ Within CTS
Breaker Series Type
Cross Bus Location
Max Device Connection
4/3 wire
Part (Pull Switches/Approved Socket Bases/ Meter Socket Application)
WPFLAT Material
Left Hand/Right Hand
Aux Bus/Main Bus
With/ Without MTG Support
Top/Bottom Incoming Cable
3/4 phase
Closure Type
With Aux/Aux and Main Bus Support
Type 1&3R
Support Edge to Edge
Service/Non-Service Entrance
Chassis Top/Bottom Incoming Neutral/ ML Obsolete
Top Feed/Bottom Feed
A phase/ B Phase/ Neutral
Poles
Flat Roof/Sloped Roof
Pressbolts only/ Pressbolts and Lugs

## MCOE Checklist
[12 empty] | Possiblity Analysis | Non-Available Parameters
Bus-Cable Pull, Non Utility Specific | CABLEPULL | Material | 3/1 Phase | Heat Test/Density | Section Width | Amperage | Multiple Sheets | Assembly No. |  |  |  | FALSE | 1
| CABLEPULL-2 | Material | 3/1 Phase | Heat Test/Density | Section Width | Amperage | Multiple Sheets |  |  |  |  | FALSE | 1
Bus-Connectors, Top of Device to Upper (Auxiliary) Cross Bus | AUXMACON | Minimum Structure Depth | Cross Bus Position | 3/1 Phase (3/1) | Heat Test/Density | Material | Device |  |  |  |  | FALSE | 4
| SAUXMACO | Structure Depth | Width (Wide) | Cross Bus Position | Heat Test/Density | Aux X-Bus Hole CTRS | Material | Device |  |  |  | FALSE | 3 | Non-Available Datapoints | Total List of Parameters | Percentage of Total
| WCCONNMD | Assembly No. | Heat Test/Density | Material | Device | [6 empty] | FALSE | 1 | 0 | 64 | 27.0042
Bus-Connectors, Device to Lower (Standard) Cross Bus | MDCONLN | Minimum Structure Depth | Minimum Structure Depth | Bus Position | DWG No. | Heat Test/Density | Material | Device |  |  |  | FALSE | 4 | 1 | 68 | 28.692
| MDCONLOA | Minimum Structure Depth | Bus Position | DWG No. | Heat Test/Density | Structure Depth | Material | Device | Support Edge to Edge |  |  | FALSE | 4 | 2 | 52 | 21.9409
| SMDCONLN | DWG No. | Structure Depth | Cross Bus Position | Heat Test | Amp per Sq CU and Alum | [5 empty] | FALSE | 4 | 3 | 36 | 15.1899
| STMNCHCO | DWG No. | Heat Test | Amp per Sq CU and Alum |  | 36/45W | [5 empty] | FALSE | 4 | 4 | 13 | 5.4852
| 3/1 PhaseCONN | Width | Assembly Drawing | Density | Material | Amperage | Device |  |  |  |  | FALSE | 3 | 5 | 4 | 1.6878
Bus-Cross, Top Position | AUXILCB | Amperage | Width (Wide) | Heat Test/Density | Assembly No. | 3/1/ Neutral 3/1 Phase Cross Bus | [5 empty] | FALSE | 1 | 6 | 0 | 0
| AUXMACB | DWG Number | Width (Wide) | Heat Test/Density | Material | Amperage | Bus Hole Center | 3/1 Phase |  |  |  | FALSE | 2
Bus, Cross Bus, Distribution/Individual Device | MAINCB | DWG No. | Bus Hole Center | Amperage | Heat Test/Density | Width (Wide) | Material | Mounting/Non-Mounting Assemblies |  |  |  | FALSE | 3
| DISTCB | Amperage | Width (Wide) | Heat Test/Density | Material | Assembly No. | [5 empty] | TRUE | 0
Bus- Cross Bus Reference Information | BUSCENTE | Bus Rating | Device Centers | X-Bus Centers | Width (Wide) | Device | [5 empty] | FALSE | 4
| SWBDBUS | - | [9 empty] | FALSE | 1
Bus- Generic, Crossbus, Runbacks, Connectors- RD, Magnum, Pringle | GENRISERS | Amperage | Material | Heat Test/Density | 3/1 Phase | Bus Centers | [5 empty] | FALSE | 1
| GENXBUS | Bus Centers | Amperage | Heat Test/Density | Material | [6 empty] | FALSE | 1
| GENDCLMTA | Bus Centers | Heat Test/Density | Material | 3/1 Phase | Device Type | Amperage |  |  |  |  | FALSE | 3
| GENDCLMBS | Device Type | Bus Center | Family Numbers/ Assembly no. | Heat Test/Density | Material | 3/1 Phase |  |  |  |  | FALSE | 3
| GENDCUMTA | Device Type | Bus Center | Family Numbers/ Assembly no. | Heat Test/Density | Material | 3/1 Phase |  |  |  |  | FALSE | 3
| GENDCUMTS | Device Type | Bus Center | Family Numbers/ Assembly no. | Heat Test/Density | Material | 3/1 Phase |  |  |  |  | FALSE | 3
| GENDRLMTA | Device Type | Bus Center | Family Numbers/ Assembly no. | Heat Test/Density | Material | 3/1 Phase |  |  |  |  | FALSE | 3
| GENDRLMBS | Device Type | Bus Center | Family Numbers/ Assembly no. | Heat Test/Density | Material | 3/1 Phase |  |  |  |  | FALSE | 3
| GENDRUMTA | Device Type | Bus Center | Family Numbers/ Assembly no. | Heat Test/Density | Material | 3/1 Phase |  |  |  |  | FALSE | 3
| GENDRUMTS | Device Type | Bus Center | Family Numbers/ Assembly no. | Heat Test/Density | Material | 3/1 Phase |  |  |  |  | FALSE | 3
| GENNEUTRALXBUS | Width (Wide) | Amperage | Heat Test/Density | Material | Assembly No. | [5 empty] | TRUE | 0
| GENNEUTLUGPADS | Device Type | Width (Wide) | Bus Center | Disconnect | Assembly No. | Heat Test/Density | Material | Service/Non-Service Entrance |  |  | FALSE | 4
Bus Ground | GNDBUS | Bus Rating | Width (Wide) | Amperage | Material | Assembly No. | Utility |  |  |  |  | FALSE | 2
| GNBUSPLI | Amperage | Bus Capacity | Material | Assembly No. | Offset/ Gnd Bus Splices | [5 empty] | FALSE | 1
Bus Ground (For Cable Pull Sections & Generic Neutral Cross Bus) | GND BOND | Amperage | Assembly No. | Material | [7 empty] | TRUE | 0
Bus- Neutral, Distribution Section | DISECNEU-1 | Riser Amperage Rating | Assembly No. | Heat Test/Density | Material | Width (Wide) | Cross Neut Rating |  |  |  |  | FALSE | 2
| FAFANEU | Ameperage | Width (Wide) | Heat Test/Density | Material | Assembly No. | Neutral Lugs |  |  |  |  | FALSE | 2
| NEUGFS | Assembly No. | Material | X-Bus/Chassis Amperage | [7 empty] | FALSE | 1
Bus - Neutral, Individual Mount Section | MASECNEUT | Riser Amperage Rating | Assembly No. | Width (Wide) | Heat Test/Density | Material | Cross Neut Rating | Device |  |  |  | FALSE | 3
| IMSECNEUT | Breaker Type | Max Breaker Amperage | Assembly No. | Cable Entry | Service Entrance | Ground Fault Protection | Bus Position | Heat Test/Density | Material | Width (Wide) | FALSE | 5
| SELNEUT | Assembly No. | Width (Wide) | Heat Test/Density | Material | Device and Amp Rating | [5 empty] | FALSE | 1
| RVMNNEUT | Assembly No. | Width (Wide) | Heat Test/Density | Amperage | [6 empty] | TRUE | 0
Bus -Splice, Cross Bus | BUSSPLIC | Assembly No. | Material | Bus Size | Splice Offset | Heat Test/Density | [5 empty] | FALSE | 2
| BUSSPSI | Depth | Bus position | [8 empty] | TRUE | 0
| WFSPLBU | Assembly No. | Amperage | Heat Test/Density | 3 Wire/1 Wire | Material | [5 empty] | FALSE | 1
Chassis | CHASBUCO | Assembly No. | Chassis Rating | Cross Bus Rating Amperage | Heat Test/Density | Material | Chassis (38X, 50X, 38X Double Feed) |  |  |  |  | FALSE | 3
| CHASSIS | Amperage | 3/1 Phase | Heat Test/Density | Material | Chassis (38X, 50X) | Cross Bus present or not |  |  |  |  | FALSE | 2
| CHASSMTG | Chassis (38X, 50X) | Assembly No. | Width (Wide) | Depth | [6 empty] | FALSE | 1
| CHASSIS5 | Amperage | Assembly No. | Material | Heat Test/Density | 3/1 Phase | With/Without Cross Bus Connector | Without/ Within CTS |  |  |  | FALSE | 2
| CHASSIS3 | Amperage | Assembly No. | Material | Heat Test/Density | 3/1 Phase | With/Without Cross X-Bus Connector | Without/ Within CTS |  |  |  | FALSE | 2
| CHASSML | Service Entrance | Amperage | Assembly No. | With/Without Neutral Sensor | Heat Test/Density | Material | Breaker Series Type | Chassis Top/Bottom Incoming Neutral/ ML Obsolete |  |  | FALSE | 4
| CHBUMNBK | Device Type | X Space | Assembly No. | Heat Test/Density | Material | [5 empty] | FALSE | 2
| CHASSISRDBUS | Assembly No. | Heat Test/Density | Material | Amperage | Width (Wide) | Mechanical Lug (750/500MCM) |  |  |  |  | FALSE | 1
| CHASSISFDPWBUS | Amperage | Assembly No. | Switch Volts | Material | [6 empty] | FALSE | 1
| CHASSCT | [10 empty] | TRUE | -
| CHASSIS BARRIERS | X Space to Cover | Barrier Combination (22X) | Width (Wide) | Depth | Cross Bus Mounting Location | [5 empty] | FALSE | 3
| NYCHASSIS | Assembly No. | 50X,88X Chassis | With/Without Cross Bus | 3/1 Phase | Heat Test/Density | Material |  |  |  |  | FALSE | 2
| NYCHASSIS50 | Mechanical Lug (750/500MCM) | 3/1 Phase | Heat Test/Density | Material | Amperage | Assembly No. | Without/ Within CTS | Top Feed/Bottom Feed |  |  | FALSE | 3
| NYCHASSIS38 | Mechanical Lug (750/500MCM) | 3/1 Phase | Heat Test/Density | Material | Amperage | Assembly No. | Without/ Within CTS | Top Feed/Bottom Feed |  |  | FALSE | 3
| PRLXWBRKT | Bracket Length | Flat/Bend Bracket | Material | Assembly No. | [6 empty] | FALSE | 2
Compartments, Metering/ SPD/ Communication | CMPANSB | [10 empty] | TRUE | -
| DORMTGA | With/Without Test Plug | Width (Wide) | Description | Assembly No. | [6 empty] | FALSE | 2
| CMPANCH | Assembly No. | Space 8X | Description | CTEP/PRL | [6 empty] | FALSE | 3
| IQHARNESS | [10 empty] | TRUE | -
| WEBCOMPT | Assembly No. | Width (Wide) | Space 11X | [7 empty] | FALSE | 1
| SPDSWBD | Application | SPD Rating | Width (Wide) | [7 empty] | FALSE | 2
Connections to Substation Transformers | XFMRClosurePlate | Assembly No. | XFMR vs SWBD depth Difference | [8 empty] | FALSE | 1
| ODDRYXFMRCONN | Amperage | Heat Test/Density | Material | Assembly No. | Depth | Flat Roof/Sloped Roof | Nema 1/3R |  |  |  | TRUE | 0
| ConnectionCovers | Assembly No. | Depth | Section Throat KVA (Left/Right) | Nema 1/3R | [6 empty] | FALSE | 1
| IDLIQXFMRSTR | Assembly No. | Indoor Transformer KVA rating | [8 empty] | FALSE | 1
| LIQXFMRBUS | Assembly No. | Amperage | Heat Test/Density | Material | 3 3/1 Phase/Neutral/Ground Bus | Transformer (Left/Right) | Cross Bus Location |  |  |  | FALSE | 3
| 3/1 PhaseIDTAGS | With/Without Neutral Bus | [9 empty] | FALSE | 1
Covers- Device, w & w/o Lockoffs, Key Interlock Mountings | FIXCVRS | Breaker Type description | Lockoff type | Width (Wide) | With/Without Lockoff | [6 empty] | FALSE | 3
| PRCVDOR1 | Amperage | Width (Wide) | Application | Pringle/AF&AFGF Pringle | [6 empty] | FALSE | 2
| PRCVDOR2 | Amperage | Width (Wide) | Application | Pringle/AF&AFGF Pringle | [6 empty] | FALSE | 2
| PRCVDOR3 | Amperage | Width (Wide) | Application | Pringle/AF&AFGF Pringle | [6 empty] | FALSE | 2
| PRCVDOR4 | Amperage | Width (Wide) | Application | Pringle/AF&AFGF Pringle | [6 empty] | FALSE | 2
| PRCVDOR5 | Amperage | Width (Wide) | Application | Pringle/AF&AFGF Pringle | [6 empty] | FALSE | 2
| PRCVDOR6 | Amperage | Width (Wide) | Application | Pringle/AF&AFGF Pringle | [6 empty] | FALSE | 2
| PRCVDOR7 | Switch | Amperage | Width (Wide) | Assembly No. | Standard/ with ITI GF, with Single 3/1 Phase, With ITI GF and Single 3/1 Phase | Pringle/AF&AFGF Pringle |  |  |  |  | FALSE | 3
| PRCVDOR8 | Amperage | Width (Wide) | Application | Pringle/AF&AFGF Pringle | [6 empty] | FALSE | 2
GFR-MTR Compartment and SensorMTGS/ Blown Fuse Indicator | GFRCOMP | Assembly No. | Width (Wide) | With/Without Pow-r-line i/PRLiX Chassis Ltd. | With/Without Test Panel | [6 empty] | FALSE | 2
| GFRCOMP2 | Assembly No. | Width (Wide) | With/Without Pow-r-line i/PRLiX Chassis Ltd. | 1/2 Relay | [6 empty] | FALSE | 3
| PRCOMBLF | Width (Wide) | With Mini/large Indication Lights | [8 empty] | FALSE | 1
IFS - Integrated Facility Switchboard | IFSQUICKDISC.xlsx | [10 empty] | TRUE | -
| IFSNEUTGRDDISC.xlsx | [10 empty] | TRUE | -
| IFSMLO22X.xlsx | Bus Rating (Amps) | Assembly No. | X Space | Heat Test/Density | Material | With/Without Connection to Splice |  |  |  |  | FALSE | 3
| IFSXFMRSEL 15-150KVA.xlsx | Assembly No. | Support Width | Depth | Seismic/Non-Seismic | Extra Sheets need to discuss | [5 empty] | FALSE | 2
| IFSXFMRSEL 225-300kVA.xlsx | Assembly No. | Width (Wide) | Depth | [7 empty] | TRUE | 0
| IFSTRIM.xlsx | Assembly No. | Width (Wide) | Panel Quantity | Trim Assemblies- Single/ Door in Door/ PRC limiter | [6 empty] | FALSE | 2
| IFSDOOR_COVERS.xlsx | Assembly No. | Transformer KVA | Width (Wide) | Description | [6 empty] | FALSE | 2
| IFSPNLMTG.xlsx | Assembly No. | Panel Quantity | Width (Wide) | Depth | [6 empty] | FALSE | 1
Lugs Mechanical & Compression Groupings | LUGGROUPS | Assembly No. | Amperage | 500/750 MCM | With or Without One hole | Copper/Aluminium Cables | [5 empty] | FALSE | 3
Magnum Breaker, Mounting Assembly, Cross bus, Line & Load connections, Neutral and CAT Numbers | DS-SB CAT BUILDER | [10 empty] | TRUE | -
| MAG PXR & PD-SB CAT | [10 empty] | TRUE | -
| SUMTER MAG # | [10 empty] | TRUE | -
| 1 HIGH MAG - FIXED | Assembly No. | Amperage | Minimum Depth | Width (Wide) | With/ Without Device Width Cover | Distinct Part Names (cover, interlock etc) |  |  |  |  | FALSE | 3
| 1 HIGH, 4000A, 3 POLE ONLY NARROW MAG - FIXED | Assembly No. | Amperage | Minimum Depth | Width (Wide) | Distinct Part Names (cover, interlock etc) | [5 empty] | FALSE | 2
| 1 HIGH MAG - D.O. | Assembly No. | Amperage | Bus Center | Heat Test/Density | Material | [5 empty] | FALSE | 1
| 1 HIGH, 4000A, 3 POLE ONLY NARROW MAG - DRAWOUT | Assembly No. | Amperage | Bus Center | Cross bus position | Heat Test/Density | Material |  |  |  |  | FALSE | 2
| 2 HIGH MAG - FIXED | Assembly No. | Depth | Description | [7 empty] | FALSE | 1
| 2 HIGH MAG -D.O. | Assembly No. | Description | Amperage | DWG No. | [6 empty] | FALSE | 2
| 4 HIGH MAG -D.O. | Assembly No. | Depth | Description | [7 empty] | FALSE | 1
Miscellaneous | PRLC_HDWR_REF | [10 empty] | TRUE | -
| SWBDPKGING | [10 empty] | TRUE | 0
| LOOSE HARDWARE | Assembly No. | Type 1/3R | number of pieces | [7 empty] | FALSE | 2
| GO TO SMART SPREADSHEET | [10 empty] | TRUE | -
| GO TO SMART SPREADSHEET | [10 empty] | TRUE | -
| GO TO SMART SPREADSHEET | [10 empty] | TRUE | -
MTG-ATS | ATSMAG | Part Name | Width (Wide) | Depth | [7 empty] | TRUE | 0
| ATS-GE-ZEN | Part Name | Width (Wide) | Depth | [7 empty] | TRUE | 0
MTG- Cross bus, Top/bottom, Distribution/individual device | AUXMAMTG | Part Name | Width (Wide) | Assembly No. | [7 empty] | TRUE | 0
| WRPCBMTG | Width (Wide) | Cross Bus Height | Split/Full Channel | Cross bus position | Depth | [5 empty] | FALSE | 3
MTG- Crurrent Transformer | CT MTG | Mounting Type(Cross bus, floating, bus) | Assembly No. | Amperage | Heat Test/Density | Material | [5 empty] | FALSE | 1
| CURRENTTRANSFORMERSCHART.xlsx | Assembly No. | Amran Catalog No. | ITI Catalog No. | Falco Catalog No. | Application | [5 empty] | FALSE | 4
MTG- Individual Device, Reference Information/Pringle Catalog & MAPICS Description | WF-MAIN | Device Type | Max Short Circuit Rating | Device Width | Device Height | Width (Wide) | Depth |  |  |  |  | FALSE | 4
| WRPMAIN | Short Circuit Rating | Device Width/ With GFR/ With NEMA | Depth Device/With NEMA Util | Cross Bus W/O Util and With NEMA Util | Conduit Space Device Only/ NEMA | [5 empty] | FALSE | 5
| BKRBUS-1 | Device Type | Bus Position Minimum Depth | NEMA Utility Depth | EUSERC Utility Depth | [6 empty] | FALSE | 4
| PRINGCAT | [10 empty] | TRUE | -
MTG- Individual Device, Upper and Lower | DEVLUCON | Device Type | Assembly No. | Material | Heat Test/Density | Lug 500/750 MCM | Lug Type (Mech/Burndy) |  |  |  |  | FALSE | 3
| MDMTG | Device Type | Assembly No. | Device Mounting Position (Upper/lower/top) | Width (Wide) | [6 empty] | FALSE | 2
| MDMTGPG | Device Type | Assembly No. | Device Mounting Position (Upper/lower/top) | [7 empty] | FALSE | 2
| DRAWOUTI | Device Type | Assembly No. | Substructure Assembly No. | Kirk Key/ Crank/Secondary Contacts | [6 empty] | FALSE | 3
MTG- Individual Device, Top Stacked | SMDMTG | Device Type | Assembly No. | Mounting Width | [7 empty] | FALSE | 2
| RFMPH1 | Device Type | X Bus Hole Center | Width (Wide) | Depth | Material | Main Assembly/Lugs | Amperage | Number of Drillings | Lugs and Pressbolts/Pressbolts only |  | FALSE | 4
| RFMPH2 | Device Type | DWG No. | Material | Width (Wide) | Depth | Main Assembly/Lugs | Amperage | Number of Drillings | Lugs and Pressbolts/Pressbolts only |  | FALSE | 4
MTG- Individual Stacked Devices | SDCONLIN | Device Type/Riser Rating | Assembly No. | Heat Test/Density | Width (Wide) | Material | Amperage | Max Device Connection |  |  |  | FALSE | 2
| SDLORUBA | Device Type | Assembly No. | Device Position (Upper/lower Mount) | Heat Test/Density | Material | [5 empty] | FALSE | 2
| STDECB | DWG No. | Width (Wide) | Amperage | Material | Heat Test/Density | [5 empty] | FALSE | 1
| UPSTDEMG | Assembly No. | Width (Wide) | Bus Position | Device Type | [6 empty] | FALSE | 1
| STKNEUT | Amperage | Assembly No. | Heat Test/Density | Material | Width (Wide) | Device Stacking (Upper/lower) |  |  |  |  | FALSE | 1
| STKRUBK | Assembly No. | Width (Wide) | Bus Position | Depth | Device Load Runback | [5 empty] | FALSE | 1
| STKRUBA | Dwg No. | Amperage | Heat Test/Density | Material | [6 empty] | FALSE | 1
| THSDLRM | Device Type | Assembly No. | Width (Wide) | Depth | [6 empty] | FALSE | 1
| THSDNRB | Device Type | Assembly No. | Heat Test/Density | Material | Lug 500/750 MCM | Lug Type (Mech/CRIMP) |  |  |  |  | FALSE | 3
| THSDLRB | Device Type | Assembly No. | Heat Test/Density | Material | Lug 500/750 MCM | Lug Type (Mech/CRIMP) |  |  |  |  | FALSE | 3
| TRIALLI | Device Type | Assembly No. | Heat Test/Density | Material | Amperage | [5 empty] | FALSE | 1
MTG- NG Drawout Assemblies | NGDOBB | [10 empty] | TRUE | -
| SUMTER NRX-NF # | [10 empty] | TRUE | -
| SUMTER NRX-RF # | [10 empty] | TRUE | -
NRX Breaker (3000A Max.), Mounting Assembly, Cross bus, line & Load Connections, Neutral and CAT Numbers | NRX-NF - FIXED | Description | Assembly No. | Heat Test/Density | Material | 3/1 Phase | Breaker Fixing point( Single and Twin mount Fixed, Twin mount fixed, Quad mount fixed) | 4/3 wire |  |  |  | FALSE | 3
| NRX-NF - DRAWOUT NOT AVAILABLE | [10 empty] | TRUE | -
| 1 HIGH NRX-RF - FIXED | Assembly No. | Amperage | Mounting Position | Width (Wide) | Heat Test/Density | Material | 3/1 Phase | A 3/1 Phase/ B 3/1 Phase/ Neutral |  |  | FALSE | 2
| 1 HIGH NRX-RF - D.O. | Assembly No. | Amperage | Mounting Position | Width (Wide) | Heat Test/Density | Material | 3/1 Phase | A 3/1 Phase/ B 3/1 Phase/ Neutral |  |  | FALSE | 2
| 2 HIGH NRX-RF - FIXED | Assembly No. | Amperage | Mounting Position | Width (Wide) | Heat Test/Density | Material | 3/1 Phase | A 3/1 Phase/ B 3/1 Phase/ Neutral |  |  | FALSE | 2
| 2 HIGH NRX-RF - D.O. | Assembly No. | Amperage | Mounting Position | Width (Wide) | Heat Test/Density | Material | 3/1 Phase | A 3/1 Phase/ B 3/1 Phase/ Neutral |  |  | FALSE | 2
| 4 HIGH NRX-RF -D.O. | Part Name | Assembly No. | Depth | [7 empty] | TRUE | 0
SCMM/ CMM Switchboards (Grand Prairie) | SCMM | Socket Type | Assembly No. | Sequence | Indoor/Outdoor | Depth | Width (Wide) | Part (Pull Switches/Approved Socket Bases/ Meter Socket Application) | Poles | Max Voltage |  | FALSE | 5
| CMMUGPS1 | Width (Wide) | Material | Heat Test/Density | Amperage | Assembly No. | [5 empty] | TRUE | 0
| CMMUGPS2 | Utility Name | Assembly No. | Width (Wide) | Depth | Amperage | [5 empty] | TRUE | 0
| SCMM EAST COAST | [10 empty] | TRUE | -
Structures- Type 1 & 3R Covers, Barriers, Door Extensions, Doors, Lifting Angles | BASICSTR | Assembly No. | Width (Wide) | Depth | Seismic/Non-Seismic | Nema 3R/1R | [5 empty] | FALSE | 1
| WPFLAT | Depth | Width (Wide) | Height | LH Door (20W,26W) | RH Door (20W, 26W) | Assembly No. | WPFLAT Material |  |  |  | FALSE | 3
| WPSLOPE | Width (Wide) | Depth | Assembly No. | WP Slope Material | [6 empty] | FALSE | 1
| PULLBOX | Depth | Pullbox Height | Width (Wide) | Assembly No. | [6 empty] | FALSE | 1
| BLKCOV | Assembly No. | Blank Cover Height | Width (Wide) | [7 empty] | FALSE | 1
| BOTCLOPL | Assembly No. | Width (Wide) | Depth | Bus Location | Switch | [5 empty] | FALSE | 2
| AUXSEC | Assembly No. | Width (Wide) | Height | [7 empty] | TRUE | 0
| ENDCOVER | Height | Depth | Seismic/ Non-Seismic | Assembly No. | Material | Indoor/Outdoor | Left Hand/Right Hand | Flat Roof/Sloped Roof |  |  | FALSE | 3
| REARCOVER | Height | Depth | Seismic/ Non-Seismic | Assembly No. | Material | Indoor/Outdoor |  |  |  |  | FALSE | 2
| SEVENTCO | Assembly No. | Splice Bus bar number | Depth | SWBD Type | Height | [5 empty] | FALSE | 2
| TOPCOVER | Assembly No. | Width (Wide) | Depth | Seismic/Non-Seismic | [6 empty] | TRUE | 0
| LFTASSY | Assembly No. | Amperage | Material | [7 empty] | TRUE | 0
| SWBDFLCH | Width (Wide) | [9 empty] | TRUE | 0
400- 1000A Compartment | WCVTBAR1 | Utility Name | Depth | [8 empty] | TRUE | 0
| NEUTBARR-1 | Amperage | Material | Heat Test/Density | Assembly No. | [6 empty] | TRUE | 0
| LUGDRILL10 | Amperage | EUSERC Drill Number | Depth | [7 empty] | TRUE | 0
| WCUTB91B | Amperage | Assembly No. | Material | Heat Test/Density | Application (A/B/C) | 3/1 Phase | Width (Wide) |  |  |  | FALSE | 1
| WCUFDR-A | [10 empty] | TRUE | -
| PNM1000MAX | Amperage | Assembly No. | Material | Heat Test/Density | Application (A/B/C) | Width (Wide) |  |  |  |  | FALSE | 1
| IDAHO1000MAX | Amperage | Assembly No. | Material | Heat Test/Density | Application (A/B/C) | 3/1 Phase | Width (Wide) |  |  |  | FALSE | 1
| WCAUXNT-A | Amperage | Depth | Material | Width (Wide) | Heat Test/Density | Assembly No. |  |  |  |  | TRUE | 0
| WCCTAUX2 | Amperage | Material | Heat Test/Density | Width (Wide) | Assembly No. | 3/4 Wire | Application (A/B/C) |  |  |  | FALSE | 1
| WCLDNEUT | Amperage | Assembly No. | Depth | Material | Heat Test/Density | [5 empty] | TRUE | 0
| WCAUXBAR | Depth | Width (Wide) | Amperage | Material | Heat Test/Density | Application (A/B/C) | Assembly No. |  |  |  | FALSE | 1
| WCBONDA | Breaker Name | Amperage | Assembly No. | With/Without Neutral Sensor | Material | Depth | Heat Test/Density | Width (Wide) |  |  | FALSE | 2
| WCUGPAUX | Amperage | Width (Wide) | Material | Heat Test/Density | 3/1 Phase | [5 empty] | TRUE | 0
| WCUGPRIS | Amperage | Depth | Width (Wide) | Material | Heat Test/Density | Assembly No. | 3/1 Phase |  |  |  | TRUE | 0
| WCUGPLLG | Amperage | Width (Wide) | Material | Heat Test/Density | 3/1 Phase | Assembly No. |  |  |  |  | TRUE | 0
| WCUTO22X | 3/1 Phase | Material | Assembly No. | Amperage | Width (Wide) | [5 empty] | TRUE | 0
| WCUTO22XMAIN | Assembly No. | Material | Heat Test/Density | Width (Wide) | [6 empty] | TRUE | 0
1200-5000 A Compartment | WCCTTOHF-A | Assembly No. | Width (Wide) | Depth | Heat Test/Density | Material | Amperage |  |  |  |  | TRUE | 0
| WCCTTOHF-B | Assembly No. | Width (Wide) | Depth | Heat Test/Density | Material | Amperage |  |  |  |  | TRUE | 0
| WCRBAR2A | Depth | Width (Wide) | Amperage | Assembly No. | [6 empty] | TRUE | 0
| WCUTLNTA | Amperage | Material | Heat Test/Density | Width (Wide) | Assembly No. | [5 empty] | TRUE | 0
| WCTUGP1A | Assembly No. | Amperage | Width (Wide) | Depth | Heat Test/Density | [5 empty] | TRUE | 0
| WCTUGP1B | Assembly No. | Amperage | Width (Wide) | Depth | Heat Test/Density | [5 empty] | TRUE | 0
| WCTAUX2A | Depth | Bus Location | Amperage | Material | Heat Test/Density | [5 empty] | FALSE | 1
| WCTAUX3A | Assembly No. | Width (Wide) | Material | Amperage | Heat Test/Density | 3/4 Wire | Aux Bus/Main Bus |  |  |  | FALSE | 1
| WCAUXNT1 | Amperage | Depth | Material | Heat Test/Density | Assembly No. | [5 empty] | TRUE | 0
| WCBOND1B | Amperage | Material | Heat Test/Density | Assembly No. | Depth | Width (Wide) |  |  |  |  | TRUE | 0
| WCRBARRA | Amperage | Width (Wide) | Assembly No. | Depth | Application (A/B/C) | [5 empty] | FALSE | 1
| WCRBARRB | Amperage | Width (Wide) | Depth | Application (A/B/C) | 3/4 Wire | Assembly No. | Heat Test/Density | Material |  |  | FALSE | 1
| WCTREV1A | Amperage | Width (Wide) | Heat Test/Density | Depth | Material | Assembly No. |  |  |  |  | TRUE | 0
| WCTREV1B | Assembly No. | Amperage | Width (Wide) | Depth | Heat Test/Density | Material |  |  |  |  | TRUE | 0
| WCRFRV1A | Amperage | Width (Wide) | Depth | Material | Heat Test/Density | Assembly No. |  |  |  |  | TRUE | 0
| WCRFAUXC | Amperage | Width (Wide) | Depth | Material | Heat Test/Density | [5 empty] | TRUE | 0
| WCRFLUGA | Assembly No. | Amperage | Drilling Number | Width (Wide) | Depth | Heat Test/Density | Material |  |  |  | FALSE | 1
| UGPSORDER-A | Width (Wide) | Depth | Material | Heat Test/Density | Amperage | Assembly No. | Number of Drillings |  |  |  | TRUE | 0
| UGPSORDER-B | Assembly No. | Amperage | Material | Bus Type | Number of Drillings | Number of Pressbolts | Depth | Pressbolts only/ Pressbolts and Lugs |  |  | FALSE | 3
| UGPORD2 | Assembly No. | Amperage | Width (Wide) | Material | Number of Drillings | Depth |  |  |  |  | TRUE | 0
| UGPORD3 | Amperage | Number of Drillings | Number of Pressbolts | Heat Test/Density | Material | Depth |  |  |  |  | FALSE | 1
| WCTAUX5A | Amperage | Material | Heat Test/Density | Width (Wide) | [6 empty] | TRUE | 0
| WCLUGSH1 | Amperage | Width (Wide) | Assembly No. | [7 empty] | TRUE | 0
Utilities- NEMA Metering Compartment | UTILMTG | Amperage | CT Type | Assembly No. | Width (Wide) | Material | Top/ Bottom Mount |  |  |  |  | FALSE | 2
| UCTAUXCON | Assembly No. | Device Type | Depth | Cross bus position | Heat Test/Density | 3/1 Phase | Material |  |  |  | FALSE | 2
| CTCONMDU | Utility Compartment Type | Device Type | Assembly No. | Heat Test/Density | Material | Width (Wide) | Depth |  |  |  | FALSE | 2
| UCTLUCON | Utility Amperage | Cross Bus Position | Assembly No. | Heat Test/Density | Lug (500/750 MCM) | Width (Wide) | With/ Without MTG Support |  |  |  | FALSE | 3
| UMDCONCT | Utility Amperage | Device Type | Assembly No. | Heat Test/Density | Material | Width (Wide) | Cross Bus Position |  |  |  | FALSE | 2
| LCTCONCB | Assembly No. | Utility Amperage | Width (Wide) | Cross bus position | Cross Bus Centers | Heat Test/Density | Material |  |  |  | FALSE | 2
| UTILBAR | Assembly No. | Width (Wide) | Depth | MTG on Rear Corner/WRP Channel | [6 empty] | FALSE | 1
Utilities- Special Metering Components | CTSPCM | Amperage | Material | Heat Test/Density | Width (Wide) | Chassis/Main Device/ Aux Bus B or D/Neutral/ Without Neutral | [5 empty] | FALSE | 1
| CTALLIANT | With/ Without Lugs | Amperage | Assembly No. | Width (Wide) | [6 empty] | FALSE | 1
| CTAMEREN | Amperage | Compact Type | Assembly No. | Width (Wide) | Material | Depth |  |  |  |  | FALSE | 1
| CTATLCTY | Amperage | Assembly No. | Width (Wide) | Material | Depth | [5 empty] | TRUE | 0
| CTBGE | Amperage | Assembly No. | Width (Wide) | Depth | Material | Number of Drillings | Top/Bottom Incoming Cable |  |  |  | FALSE | 1
| CTNSTAR | Amperage | Assembly No. | Width (Wide) | Material | Depth | [5 empty] | TRUE | 0
| CTCHEYLFP | Amperage | Assembly No. | Material | Width (Wide) | [6 empty] | TRUE | 0
| CTCINGAS | Amperage | Width (Wide) | Depth | Assembly No. | Top mount Top/bottom Incoming | Heat Test/Density | Bus position | Material | Device Type | Application B/C | FALSE | 2
| CTNAPERVL | Amperage | Assembly No. | Width (Wide) | Depth | [6 empty] | TRUE | 0
| CTCOMMED | Amperage | Assembly No. | Material | Width (Wide) | Depth | With/Without Lugs | 3/4 3/1 Phase |  |  |  | FALSE | 1
| CTCONED | Width (Wide) | Amperage | Material | Top Mount Top/Bottom Incoming | Bus Position | Con Ed/ NY Code Applicants | Assembly No. |  |  |  | FALSE | 2
| CTDP&L | Amperage | Assembly No. | Material | Width (Wide) | [6 empty] | TRUE | 0
| CTDETED | Amperage | Assembly No. | Width (Wide) | Material | Depth | Applications A,B,D |  |  |  |  | FALSE | 1
| CTDUQUESNE | Amperage | Depth | Compt Type | Assembly No. | Top Mount / Bottom Mount | Width (Wide) | Material |  |  |  | FALSE | 2
| CTGAPOWER | Amperage | Compt Type | Assembly No. | Width (Wide) | Material | Heat Test/Density |  |  |  |  | FALSE | 1
| CTINP&L | Amperage | Material | Heat Test/Density | Width (Wide) | Top Mount W/UGPS/Pullbox/Without Pullbox/ Bottom Incoming | Bus Position | Depth | Assembly No. |  |  | FALSE | 1
| CTJCPL | Amperage | Assembly No. | Material | Width (Wide) | Depth | [5 empty] | TRUE | 0
| CTPSEGLI | Amperage | Top Mount W/UGPS/ Bottom Incoming | Assembly No. | Width (Wide) | Depth | Applications A1,C,A2,A,B2,C | Material | Heat Test/Density |  |  | FALSE | 2
| CTLG&E | Amperage | Assembly No. | Width (Wide) | Material | [6 empty] | TRUE | 0
| CTMADG&E | Amperage | Assembly No. | Width (Wide) | Material | Depth | Cross Bus position | Heat Test/Density |  |  |  | FALSE | 1
| CTNATLGRID | Amperage | Assembly No. | Width (Wide) | Material | Depth | Heat Test/Density | Closure Type | Material |  |  | FALSE | 1
| CTMONPWR | Amperage | Assembly No. | Width (Wide) | Material | Depth | [5 empty] | TRUE | 0
| CTNATLGRID-NIMO | Amperage | Width (Wide) | Heat Test/Density | Material | Assembly No. | Top/ Bottom Incoming |  |  |  |  | FALSE | 1
| CTNOEAST | Amperage | Assembly No. | Heat Test/Density | Material | Width (Wide) | Depth |  |  |  |  | TRUE | 0
| CTNOSPWR | Amperage | Assembly No. | Heat Test/Density | Material | Width (Wide) | Depth |  |  |  |  | TRUE | 0
| CTNYSE&G | Amperage | Assembly No. | Heat Test/Density | Material | Width (Wide) | Depth |  |  |  |  | TRUE | 0
| CTOMAHA | [10 empty] | TRUE | -
| CTORANGE&ROCKLAND | Amperage | Assembly No. | Width (Wide) | Material | Heat Test/Density | Top/Bottom Mount | Closure Type | Bus Location |  |  | FALSE | 3
| CTPECO | Amperage | Assembly No. | Width (Wide) | Material | Compartment Type | [5 empty] | FALSE | 1
| CTPEPCO | Amperage | Assembly No. | Depth | Number of Drillings | Top/Bottom Feed | [5 empty] | FALSE | 1
| CTPP&L | Amperage | Assembly No. | Material | Heat Test/Density | Width (Wide) | Number of Drillings | With Aux/Aux and Main Bus Support |  |  |  | FALSE | 1
| CTPSEGNJ | Amperage | Assembly No. | Material | Width (Wide) | Depth | [5 empty] | TRUE | 0
| CTXCELCOL | Amperage | Assembly No. | Material | Width (Wide) | Depth | MTG on Rear Corner/WRP Channels |  |  |  |  | FALSE | 1
| CTDOMINION | Amperage | Assembly No. | Top Mount W/UGPS/Pullbox/Without Pullbox/ Bottom Incoming | Material | Depth | Width (Wide) | Bus position |  |  |  | FALSE | 1
| CTWEENERGIES | Amperage | Assembly No. | Width (Wide) | Material | Depth | Top/ Bottom Incoming | Number of Drillings |  |  |  | FALSE | 1
| CTWISPUB | Amperage | Assembly No. | Heat Test/Density | Material | [6 empty] | TRUE | 0
| CTPSOFNH | Amperage | Assembly No. | Width (Wide) | Material | Top Mount / Bottom Mount | Compartment Type |  |  |  |  | FALSE | 2
| CTNEMA | [10 empty] | TRUE | 0
| METEDMTG | Amperage | Assembly No. | Width (Wide) | Material | Compartment Type | [5 empty] | FALSE | 1
| CTNES | Amperage | Assembly No. | Width (Wide) | Heat Test/Density | Material | [5 empty] | TRUE | 0
| CTENTERGY | Amperage | Assembly No. | Width (Wide) | Heat Test/Density | Material | [5 empty] | TRUE | 0
| CTCPSENERGY | Amperage | Assembly No. | Width (Wide) | Material | Voltage | [5 empty] | TRUE | 0
QPS Requirements for PRLX | PRLXQPS | Switch Catalog No. | Assembly No. | Fuse Quantity | Fuse Size | Fuse Catalog No. | Fuse Amp Rating |  |  |  |  | FALSE | 5
| CHASSIS |  |  |  |  | ` | [5 empty] | FALSE | -
Customer Metering | CUSTOMER METERING INSTRUMENT DOOR / BACK - OF - DOOR ASSEMBLY | [10 empty] | TRUE | 0
| BLANKPANSDOORS.xlsx | [10 empty] | TRUE | -
Enclosure | Enclosure | [10 empty] | TRUE | 0
Generic Cross Bus and Mountings | GENERIC CROSS BUS AND MOUNTINGS | Amperage | Material | Bus Center | Assembly No. | [6 empty] | FALSE | 1
HPX- High Pressure Contact Switch (800-3000A) | HPX SWITCH 800-3000A | Amperage | Assembly No. | Device Feed | Width (Wide) | 3/1 Phase | Material | Bus position | Heat Test/Density |  |  | FALSE | 1
Input/Output Panel (800-3000A) | INPUTOUTPUT PANEL 800-3000A | Amperage | Width (Wide) | Height | Material | Bus Position | Lug(500/750 MCM) | Type 1&3R |  |  |  | FALSE | 2
Instant Switchboard (400-800A) | INSTANT SWITCHBOARD | Amperage | Voltage | Device Type | 3/1 Phase | SWDB Catalog No. | Main Device Catalog No. | Heat Test/Density |  |  |  | FALSE | 3
Magnum (800-4000A) | MAGNUM BREAKER | [10 empty] | TRUE | 0
PD6/RD/RG (1600-2500A) | PD6-R FRAME BREAKER
PD-RF (800-3000A) | PD-RF BREAKER
Pringle Bolted Pressure Switch | PRINGLE SWITCH
Miscellaneous | KEY INTERLOCK SELECTION
MIMICBUS
ELECTRICAL COMP
EXERTHERM INTEGRATION - SWBD
MICROSOFT SPECIFIC DESIGNS

## Sheet1
Name | Code | Parameter 1 | Parameter 2 | Parameter 3 | Parameter 4 | Parameter 5
Bus Ground (For Cable Pull Sections & Generic Neutral Cross Bus) | GND BOND | Amperage | Assembly No. | Material
Bus Splice Cross Bus | BUSSPSI | Depth | Bus position
NRX Breaker (3000A Max.), Mounting Assembly, Cross bus, line & Load Connections, Neutral and CAT Numbers | 4 HIGH NRX-RF -D.O. | Part Name | Assembly No. | Depth
Structures- Type 1 & 3R Covers, Barriers, Door Extensions, Doors, Lifting Angles | LFTASSY | Assembly No. | Amperage | Material
400- 1000A Compartment | WCVTBAR1 | Utility Name | Depth
400- 1000A Compartment | NEUTBARR-1 | Amperage | Material | Heat Test/Density | Assembly No.
400- 1000A Compartment | WCLDNEUT | Amperage | Assembly No. | Depth | Material | Heat Test/Density
1200-5000 A Compartment | WCAUXNT1 | Amperage | Depth | Material | Heat Test/Density | Assembly No.
Utilities- Special Metering Components | CTWISPUB | Amperage | Assembly No. | Heat Test/Density | Material